PLASTIC

Level 1 Data Document

Lynn Kistler & Lorna Ellis

December 18, 2006

Version: C

Last Modified: January 25, 2007

Modification History

Version	Date	Modifications

A	Dec. 18, 2006	Original Version

B	Dec. 19, 2006	Removed esa_main, esa_s, esa_main_avg,

esa_s_avg

C	Jan. 25, 2007	Fixed algorithms for alpha/proton distributions and

moments distributions.

Explained how deflection reversed on odd esa steps.

Fixed typo in Appendix D.

Table of Contents

1.	Overview of PLASTIC Instrument Operation	4

2.	Overview of CDF Files	4

3.	Data Products	5

3.1	Housekeeping Data	5

3.1.1	Analog Housekeeping	5

3.1.2	Digital Housekeeping	7

3.1.3	Spacecraft Housekeeping	9

3.2	Monitor Rate Data	10

3.2.1	Full Resolution Monitor Rates	11

3.2.2	Normal Resolution Mon. Rates: Science Mode	11

3.2.3	Normal Res. Mon. Rates: Engineering Mode	12

3.3	Matrix Rate Data	12

3.3.1	Solar Wind Proton and Alpha Data	13

3.3.1.1	Proton Moments	13

3.3.1.2	Proton/Alpha Reduced Distributions	14

3.3.2	Heavy Ion Data	15

3.4	Raw Event Data (PHA)	17

3.5	Memory Data	18

3.5.1	Classifier Data	18

3.5.2	‘Trickle-Down’ Memory Data	19

Appendix A	Apids with PLASTIC Data	20

Appendix B	Compression Algorithms	21

Appendix C	Analog Housekeeping Products	22

Appendix D	Classification Bins	24

# Overview of PLASTIC Instrument Operation

PLASTIC covers the full azimuthal range (ie. in the ecliptic plane) at all times, but needs to step through energies-per-charge and polar angles. The polar angle steps from +20 to – 20 degrees in 1.33 degree steps (32 steps).  In normal mode, the ESA voltage is stepped in logarithmic increments in 128 steps.  For each E/Q step, the ESA will sit at one voltage, while the deflector voltages sweep through their full set of values. Then the ESA voltage will continue to the next E/Q step in the cycle. Each deflection step takes 12.8 msec. The instrument sweeps across deflection steps first in one direction, and then in the opposite direction. Therefore, data is sent from the instrument to the DPU with deflection steps reversed on every odd ESA step. However, the DPU compensates for this reversal so that all science products including monitor rates (with the exception of the Memory Data – see section 3.5) arrive on the ground with the correct deflection steps.  A full set of angles (32 steps, plus some overhead) takes 455.4 ms, and a full cycle will take 1 minute (128 ESA steps plus some overhead).

Because all solar wind ions flow with approximately the same speed, the E/q selection of the entrance system acts to separate solar wind ions by mass/q.  Because the heavy ions are normally not fully ionized, their mass/q is normally larger than 2.  Thus the heavy ions are observed at the higher E/q steps than H+, and to some extent, He++.  Because there is a large difference in fluxes of H+, He++ and heavy ions, there are two entrance systems for the solar wind ions.   One entrance has a large geometric factor, for the low abundance heavy ions, and one entrance has a small geometric factor for the H+ and possibly He++ ions. At the high E/q steps, when we are mainly measuring the heavy ions, we use the main, large geometric factor, aperture.  At lower E/q steps, we need to switch to the “S-channel” (“small-aperture”) low geometric factor aperture to measure the protons.  The E/Q step at which to switch between the two entrance systems is determined by the DPU.

The PLASTIC instrument is functionally divided into two halves, one which has Solid State Detectors (SSD’s) as well as MCP’s, and one which just has MCP’s.  The length of the flight path is different for the two sides.  There are two sets of time-of-flight electronics, one for each half.

- Overview of CDF Files

All Level 1 data are stored in CDF (Common Data Format) files. See http://cdf.gsfc.nasa.gov/ for a description of CDF files, in general. Each day, for each spacecraft, we create four CDF files with the following filenames:

STx_L1_PLA_yyyymmdd_doy_Vzz.cdf

STx_L1_PLA_HK_yyyymmdd_doy_Vzz.cdf

STx_L1_PLA_SC_yyyymmdd_doy_Vzz.cdf

STx_L1_PLA_CL_yyyymmdd_doy_Vzz.cdf

In each filename, ‘x’ stands for ‘A’ or ‘B’ depending on the spacecraft; ‘yyyymmdd’ stands for the date; ‘doy’ stands for the three-digit day-of-year, and ‘zz’ gives the version number of the processing software. If you want easily to check if you have the most up-to-date files, you can look in the files ‘processing_dates_’ and ‘sphk_processing_dates_’ for each spacecraft. These files list the most recent processing date for the data from each day of year.

The first file, which begins ‘STx_L1_PLA_’, contains all our science data, including monitor rates, proton moments, proton/alpha distributions, heavy ion data, and pha events. The second file, which includes the ‘HK’ (housekeeping) abbreviation, contains the housekeeping data that comes from the instrument, including analog and digital housekeeping. The third file, which includes the ‘SC’ (spacecraft) abbreviation, contains the spacecraft housekeeping values that are pertinent for PLASTIC. The last file, which includes the ‘CL’ (classifier) abbreviation, contains memory dump information from the instrument. This includes reads of our classifier memory, as well as a continuous ‘trickle-down’ stream of data that reads all our memory and puts it in telemetry as space allows.

In each file, data records are linked to an ‘epoch’ variable that gives the time for each record in UTC. CDF epoch variables denote milliseconds since 01-Jan-0000 00:00:00.000. Specifics of the different epoch variables are listed below. Also, in each file, there are a ‘level0_file’ variable and a ‘processing_date’ variable which give the name of the level 0 file used to create this CDF, and the date on which this CDF was processed.

In the science CDF, there are also three variables used to indicate potentially bad data. This CDF contains three epoch variables: epoch1 for one-minute resolution data, epoch5_heavy for the heavy-ion data, and epoch5_mon for the science mode normal monitor rates (see below). For each of these variables, there is a corresponding error variable: error1, error5_heavy, error5_mon. If, for any record, the error variable has a value of 1, then the data in that record is suspect. Further analysis of the Level 0 data would be required to determine more details about why it is suspect.

- Data Products

  - Housekeeping Data

    - Analog Housekeeping

Analog housekeeping in contained in apid 200 packets in our level 0 telemetry. It is stored in CDFs with the prefix STx_L1_PLA_HK_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. The PLASTIC housekeeping data is collected and sent from the instrument to the DPU once per minute, at the end of a data cycle. Because apid 200 includes data from the IMPACT instrument as well as from PLASTIC, apid 200 packets may be sent more often than once per minute. However, the PLASTIC portion of the data comes on a one-minute cadence.

The level 1 data includes both the raw value, and a converted value, where applicable. All analog housekeeping products are tied to the epoch_analog product, which contains the time for each record. Data products are:

device_code

block_id

lrnm_spare_raw

lvc_-12v_raw

lvc_-5v_raw

esa_vm_pos_raw

dfl_1_vm_raw

dfl_1_tap_raw

dfl_2_vm_raw

dfl_2_tap_raw

lvc_+2.5v_b_raw

pac_cm_dc_raw

lvc_+12v_raw

lrpm_spare_raw

lvc_+2.5v_a_raw

lvc_+5v_raw

adc_avdd_raw

adc_dvdd_raw

pac_vm_raw

cal_vref_raw

pac_cm_ac_raw

mcp_vm_raw

mcp_cm_dc_raw

mcp_cm_ac_raw

ssd_cm_dc_raw

s_ch_vm_raw

s_ch_vm_tap_raw

s_ch_cm_dc_raw

esa_vm_neg_raw

esa_cm_dc_raw

dfl_1_cm_dc_raw

dfl_2_cm_dc_raw

lvc_+2.5v_b_imon_raw

lvc_+12v_imon_raw

lvc_-12v_imon_raw

lvc_+5v_imon_raw

lvc_-5v_imon_raw

lvc_+2.5v_a_imon_raw

ssd_vm_raw

plug_id_raw

adc_lu_flag_raw

dac_status_raw

lrnm_spare_eng

lvc_-12v_eng

lvc_-5v_eng

esa_vm_pos_eng

dfl_1_vm_eng

dfl_1_tap_eng

dfl_2_vm_eng

dfl_2_tap_eng

lvc_+2.5v_b_eng

pac_cm_dc_eng

lvc_+12v_eng

lrpm_spare_eng

lvc_+2.5v_a_eng

lvc_+5v_eng

adc_avdd_eng

adc_dvdd_eng

pac_vm_eng

cal_vref_eng

mcp_vm_eng

mcp_cm_dc_eng

ssd_cm_dc_eng

s_ch_vm_eng

s_ch_vm_tap_eng

s_ch_cm_dc_eng

esa_vm_neg_eng

esa_cm_dc_eng

dfl_1_cm_dc_eng

dfl_2_cm_dc_eng

lvc_+2.5v_b_imon_eng

lvc_+12v_imon_eng

lvc_-12v_imon_eng

lvc_+5v_imon_eng

lvc_-5v_imon_eng

lvc_+2.5v_a_imon_eng

ssd_vm_eng

adc_lu_ctr_raw

adc0_agnd_raw

adc1_agnd_raw

ra_e0_raw

ra_e1_raw

tac0_tsp_raw

tac2_tsp_raw

sb0_tsp_raw

sb1_tsp_raw

tof_hv0_tsp_raw

tof_hv1_tsp_raw

s_c_0_tsp_raw

s_c_1_tsp_raw

lvc0_tsp_raw

lvc1_tsp_raw

adc0_vref_raw

adc1_vref_raw

ssd_status_raw

ssd_v_pos_analog_raw

ssd_v_neg_analog_raw

ssd_hv_bias_raw

ssd_tc0_raw

ssd_tc1_raw

ssd_tc2_raw

ssd_v_pos_dig_raw

adc0_agnd_eng

adc1_agnd_eng

ra_e0_eng

ra_e1_eng

tac0_tsp_eng

tac2_tsp_eng

sb0_tsp_eng

sb1_tsp_eng

tof_hv0_tsp_eng

tof_hv1_tsp_eng

s_c_0_tsp_eng

s_c_1_tsp_eng

lvc0_tsp_eng

lvc1_tsp_eng

adc0_vref_eng

adc1_vref_eng

ssd_v_pos_analog_eng

ssd_v_neg_analog_eng

ssd_hv_bias_eng

ssd_tc0_eng

ssd_tc1_eng

ssd_tc2_eng

ssd_v_pos_dig_eng

    - Digital Housekeeping

Digital housekeeping is contained in apid 313 packets in our level 0 telemetry. It is stored in CDFs with the prefix STx_L1_PLA_HK_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. The PLASTIC housekeeping data is collected and sent down in telemetry once per minute, at the end of a data cycle. The level 1 data includes raw values only. All digital housekeeping products are tied to the epoch_digital product, which contains the time for each record. Data products are:

dpu_sw_version

cmd_rcvd_cnt

cmd_exec_cnt

cmd_total_err_cnt

cmd_parity_err_cnt

cmd_frame_err_cnt

cmd_illegal_err_cnt

ic_status_reg

ic_ctl_reg

lbc_reset_ctl

lbc_mode_ctl

lbc_logic_ctl_a

lbc_logic_ctl_b

lbc_tac_pwr_ctl

lbc_reg_seq

lbc_event_ctl

lbc_rlim_ch

lbc_rlim_hi

lbc_rlim_lo

lbe_pos_ctrl

lbe_pos_disable0

lbe_pos_disable2

lbe_tac0_ctrl

lbe_tac0_dac

lbe_tac2_ctrl

lbe_tac2_dac

lbe_tac0_under_hi

lbe_tac0_under_lo

lbe_tac0_over_hi

lbe_tac0_over_lo

lbe_tac2_under_hi

lbe_tac2_under_lo

lbe_tac2_over_hi

lbe_tac2_over_lo

lbe_ssd_ctrl

lbe_ssd_cmd_h

lbe_ssd_cmd_l

lbe_ssd_dis

lbe_ssd_under_hi

lbe_ssd_under_lo

lbe_ssd_over_hi

lbe_ssd_over_lo

lbe_sel_ctrl

lbe_trig_mode

lbe_esa_step

lbe_defl_step

lbe_ssd_offset0

lbe_ssd_offset1

lbe_ssd_offset2

lbe_ssd_offset3

lbe_ssd_offset4

lbe_ssd_offset5

lbe_ssd_offset6

lbe_ssd_offset7

lbe_stim_enable

lbe_stim_freq_hi

lbe_stim_freq_lo

lbe_sel0_window

lbe_sel2_window

lbe_ssd_offset8

lbe_ssd_offset9

lbe_ssd_offset10

lbe_ssd_offset11

lbe_ssd_offset12

lbe_ssd_offset13

lbe_ssd_offset14

lbe_ssd_offset15

lbe_pos_ra

dacm_pac_mcp_ssd_ctl_mcp_limit

dacm_pac_limit

dacm_esa_ctl

dacm_s_ch_ctl

dacm_dfl_1_ctl

dacm_dfl_2_ctl

dacm_control

dacm_status

dacm_adc_lu_ctr

dacm_dfl_1_offset

dacm_dfl_2_offset

dacm_pac_coarse

dacm_pac_fine

dacm_pac_cm_fs_coarse

dacm_pac_cm_fs_fine

dacm_mcp_coarse

dacm_mcp_fine

dacm_mcp_cm_fs_coarse

dacm_mcp_cm_fs_fine

dacm_ssd_coarse

dacm_ssd_fine

dacm_esa_coarse

dacm_esa_fine

dacm_s_ch_coarse

dacm_s_ch_fine

dacm_s_ch_tap_coarse

dacm_s_ch_tap_fine

dacm_dfl_1_coarse

dacm_dfl_1_fine

dacm_dfl_1_dfine

dacm_dfl_2_coarse

dacm_dfl_2_fine

dacm_dfl_2_dfine

dacr_pac_mcp_ssd_ctl_mcp_limit

dacr_pac_limit

dacr_esa_ctl

dacr_s_ch_ctl

dacr_dfl_1_ctl

dacr_dfl_2_ctl

dacr_control

dacr_status

dacr_adc_lu_ctr

dacr_dfl_1_offset

dacr_dfl_2_offset

dacr_c_pac_coarse

dacr_c_pac_fine

dacr_c_pac_cm_fs_coarse

dacr_c_pac_cm_fs_fine

dacr_c_mcp_coarse

dacr_c_mcp_fine

dacr_c_mcp_cm_fs_coarse

dacr_c_mcp_cm_fs_fine

dacr_c_ssd_coarse

dacr_c_ssd_fine

dacr_c_esa_coarse

dacr_c_esa_fine

dacr_c_s_ch_coarse

dacr_c_s_ch_fine

dacr_c_s_ch_tap_coarse

dacr_c_s_ch_tap_fine

dacr_dfl_1_coarse

dacr_dfl_1_fine

dacr_dfl_1_dfine

dacr_dfl_2_coarse

dacr_dfl_2_fine

dacr_dfl_2_dfine

sw_status1

sw_hv_ramp_status

sw_hv_enable_status

sw_hv_limit_status

sw_eepromchksum

hkp_sampletime

pac_discharge_status

pac_discharge_cnt

pac_discharge_conseccntr

pac_discharge_safe_att

analog_limit_status

analog_lim_pt1_status

analog_lim_pt1_id

analog_lim_pt1_red

analog_lim_pt2_status

analog_lim_pt2_id

analog_lim_pt2_red

analog_lim_pt3_status

analog_lim_pt3_id

analog_lim_pt3_red

analog_lim_pt4_status

analog_lim_pt4_id

analog_lim_pt4_red

analog_lim_pt5_status

analog_lim_pt5_id

analog_lim_pt5_red

analog_lim_pt6_status

analog_lim_pt6_id

analog_lim_pt6_red

analog_lim_pt7_status

analog_lim_pt7_id

analog_lim_pt7_red

analog_lim_pt8_status

analog_lim_pt8_id

analog_lim_pt8_red

analog_lim_pt9_status

analog_lim_pt9_id

analog_lim_pt9_red

analog_lim_pt10_status

analog_lim_pt10_id

analog_lim_pt10_red

analog_lim_pt11_status

analog_lim_pt11_id

analog_lim_pt11_red

analog_lim_pt12_status

analog_lim_pt12_id

analog_lim_pt12_red

analog_lim_pt13_status

analog_lim_pt13_id

analog_lim_pt13_red

analog_lim_pt14_status

analog_lim_pt14_id

analog_lim_pt14_red

analog_lim_pt15_status

analog_lim_pt15_id

analog_lim_pt15_re

opmode

sw_mode

proton_mode

active_supplyid

supply_coarse_rb

supply_fine_rb

swmaint_supplystat

swmaint_pac_coarse

swmaint_pac_fine

    - Spacecraft Housekeeping

Spacecraft housekeeping is contained in .csh (converted spacecraft housekeeping) files created by APL. It is stored in CDFs with the prefix STx_L1_PLA_SC_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. The level 1 data includes converted values only; APL does the conversions. All spacecraft housekeeping products are tied to the epoch product, which contains the time for each record. Data products are:

pl_ebox_tmp

pl_inst_msg_pwr_dwn_req

pl_pwr_cur

pl_pwr_tt

pl_surv_pwr_cur

pl_surv_pwr_tt

pl_tof_tmp

  - Monitor Rate Data

The monitor rates data consists of the raw rates from individual 16-bit counters and from checks for logical coincidences in the instrument.  There are 32 rates.  The data from the instrument to the DPU contains the rate data, the E/Q step, and the deflection step information.

These are sent in a message to the DPU every deflection step (every 12.8 ms). From this, two types of data products are formed: “full resolution” rates and “normal” rates.  In science mode, for one rate (selectable, but default is start rate, sf0) we keep full angle and time resolution for half the 128 energy steps (full resolution). The first step to use is commandable, and the product then uses the subsequent 63 steps (total of 64 steps). For the full set of rates (normal resolution) we create a data product which sums the rates in energy, angle and time to get a smaller set.  This summed product is sent out once every 5 cycles.  Each set of 4 adjacent energies, and 4 adjacent deflector angles is summed, and the product is accumulated for 5 cycles (5 minutes).  In Engineering mode, the “normal” rates come out every minute, and five additional rates are put into the telemetry at full resolution.

In both modes, the data is compressed from 16 bits to 8 bits. The data in the CDF is uncompressed back to 16 bits.

The 32 rates are:

SSD side

s_valid

s_e_not_req

s_e_req

s_no_pos

s_mult_pos

s_no_e

s_mult_e

ra_sat_a

ra_sat_b

ra_sat_both

ssd_sw

ssd_st

sf0

sfr0

stp0

ra_trig

pos1_0

pos1_1

Non-SSD side

w_no_pos

w_mult_pos

w_valid

sf2

sfr2

stp2

pos2_0

pos2_1

pos2_2

pos2_3

pos3_0

pos3_1

pos3_2

pos3_3

All monitor rates products are contained in our level 0 telemetry and are stored in CDFs with the prefix STx_L1_PLA_ where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. Full resolution monitor rates are contained in apid 317 while normal resolution monitor rates (both science and engineering mode) are contained in apid 316.

3.2.1 Full Resolution Monitor Rates

The full resolution monitor rates are listed in the CDF by their name and the ‘_full’ suffix. For example, there is a ‘s_valid_full’ product. All the full-resolution monitor rates are tied to the ‘epoch1’ variable because they come out every minute. The time given is the start of cycle time. There will be a record for each minute in the day for which we received any science data. All records that do not contain valid data for any particular product will have the ‘fill value’ of -1. It does not matter whether we are in science or engineering mode; valid data is simply entered into the CDF of whichever products we receive at any given time.

Each record has the dimensions 128 x 32 which represent the 128 esa steps and the 32 deflection steps. The voltage values for the esa steps and the converted values for the deflection steps will be put in a calibration file (format and location TBD).

The full resolution monitor rates are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch1’	gives time for record

‘cycle1’	gives cycle number for record (for synchronization)

‘s_chan1’	gives the step on which the s-channel switched for this record

(0 = didn’t switch)

‘error1’	if 1, there was a possible error with this cycle’s data

3.2.2 Normal Resolution Mon. Rates: Science Mode

The normal resolution monitor rates that are taken in science mode are listed in the CDF by their names and the ‘_norm_science’ suffix. For example, there is a ‘s_valid_norm_science’ product. All the normal resolution monitor rates taken in science mode are tied to the ‘epoch5_mon’ variable, because they come out every five minutes. The time given is the start time of the first cycle. There are two epoch5 variables (epoch5_mon and epoch5_heavy) because the monitor rates and the heavy ions are not necessarily synchronized.

Each record has the dimensions 32 x 8 which represent the 32 groups of 4 summed esa steps and the 8 groups of 4 summed deflection steps. The summed esa steps and the converted values for the deflection steps will be put in a calibration file (format and location TBD).

The normal resolution monitor rates taken in science mode are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch5_mon’		gives time for record – start of first cycle

‘cycle5_mon’	 	gives cycle number for record (for synchronization)

‘s_chan5_mon’	gives the step on which the s-channel switched for this

record (0 = didn’t switch)

‘error5_mon’		if 1, there was a possible error with this data

3.2.3 Normal Res. Mon. Rates: Engineering Mode

The normal resolution monitor rates that are taken in engineering mode are listed in the CDF by their names and the ‘_norm_eng’ suffix. For example, there is a ‘s_valid_norm_eng’ product. All the normal resolution monitor rates taken in engineering mode are tied to the ‘epoch1’ variable, because they come out every minute. The time given is the start of the cycle.

Each record has the dimensions 32 x 8 which represent the 32 groups of 4 summed esa steps and the 8 groups of 4 summed deflection steps. The summed esa steps and the converted values for the deflection steps will be put in a calibration file (format and location TBD).

The normal resolution monitor rates taken in engineering mode are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch1’		gives time for record – start of cycle

‘cycle1’	 	gives cycle number for record (for synchronization)

‘s_chan1’		gives the step on which the s-channel switched for this

record (0 = didn’t switch)

‘error1’		if 1, there was a possible error with this cycle’s data

  - Matrix Rate Data

The 16-bit accumulators from the classification board are sent to the DPU after every deflection cycle (455.4 ms).  The contents of the accumulators are listed in table 3.

Table 3.  Accumulated products on Classification board.

| Name | Bin_dat type | Class bins | Pos. bins | Def. bins | Energy steps | # of sections | SECTION* | Total bins | bits/ item |  | Total Bytes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SW-all | Sw-all | 1 | 32 | 32 | 1 | 1 | 0 or 1 | 1024 | 16 |  | 2048 |  |
| SW-H (Doubles) | sw H alpha | 1 | 32 | 32 | 1 | 1 | 0 or 1 | 1024 | 16 |  | 2048 |  |
| SW- alpha (Doubles) | sw H alpha | 1 | 32 | 32 | 1 | 1 | 0 or 1 | 1024 | 16 |  | 2048 |  |
| SW_alpha (Triples) | sw H alpha | 1 | 32 | 32 | 1 | 1 | 0 or 1 | 1024 | 16 |  | 2048 |  |
| SW Z>2 | sw Z>2 | 15 | 16 | 8 | 1 | 1 | 0 or 1 | 1920 | 16 |  | 3840 |  |
| Wide-angle, Triples | Supra wide | 15 | 8 | 1 | 1 | 1 | 2 | 120 | 16 |  | 240 |  |
| Wide-angle, Double | Supra no E | 7 | 8 | 1 | 1 | 2 | 2,3 | 112 | 16 |  | 224 |  |
| SW_PHA_Priority_rates | SW Pha pri rates | 4 | 1 | 32 | 1 | 1 | 0 or 1 | 128 | 16 |  | 256 |  |
| WAP_PHA_Priority_rates | WAP Pha pri rates | 2 | 1 | 1 | 1 | 2 | 2,3 | 4 | 16 |  | 8 |  |
| PHA Data |  |  |  |  |  |  |  | 512 | 48 |  | 3072 |  |
| Total |  |  |  |  |  |  |  |  |  |  | 15832 |  |
|  |  |  |  |  |  |  | *0-SW-main channel, 1-SW-S channel, 2-WAPwSSD 3-WAP_no_SSD |  |  |  |  |  |

3.3.1 Solar Wind Proton and Alpha Data

From the instrument, there are three arrays which contain the solar wind proton and alpha data. The first array (SW-all) contains the proton/alpha data together, with only angular binning.  The second (SW-H/alpha-Doubles) contains data classified using the time-of flight:  there is a 32-azimuthal bin x 32-polar bin array for each of the two species. The third (SW_alpha_Triples) contains the alpha data classified using the both time-of-flight and energy measurement. So that the DPU does not have to store a whole array of data, the telemetered reduced distribution functions and part of the moments are based on the peak from the previous cycle. The data is compressed from 16 bits to 8 bits. The data in the CDF is uncompressed back to 16 bits.

3.3.1.1 Proton Moments

By command, we can choose which array, SW_all or SW_H, is used for calculating proton moments.  Default is SW_H. The moments are calculated using a commandable energy range. Default is steps 39-127 (step 39 is 15 keV). The moments calculation uses all odd position bins. For deflection, it uses deflection bins DP-3 to DP+4 where DP is the deflection peak from the previous cycle (i.e. the deflection bin in which the most counts were received).

Proton moments are contained in apid 325 packets in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. The moments collected and sent down in telemetry once per minute, when we are in science or proton mode. The level 1 data includes raw values only. All moments products are tied to the epoch1 product, which contains the time for each record. The data is compressed to 16 bits. The data in the CDF is uncompressed.

The moments variables are:

‘density_main’	density for main channel

‘density_s’		density for s channel

‘velocity_main’	3 element array: x,y,z

‘velocity_s’		3 element array: x,y,z

‘heat_flux_main’	3 element array: x,y,z

‘heat_flux_s’		3 element array: x,y,z

‘temperature_main’	6 element array: xx,xy,xz,yy,yz,zz

‘temperature_s’	6 element array: xx,xy,xz,yy,yz,zz

The moments are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch1’		gives time for record – start of cycle

‘cycle1’		gives cycle number for record (for synchronization)

‘s_chan1’		gives the step on which the s-channel switched for this

record (0 = didn’t switch)

‘moment_meta’	4 elements:[Emin, Emax, Schan conversion factor,

Array (0:SW-All, 1:SW-H)]

‘error1’		if 1, there was a possible error with this cycle’s data

3.3.1.2 Proton/Alpha Reduced Distributions

There are four distribution functions total, from the 4 SW proton/alpha arrays.  If the proton peaks are EP (peak energy step) and DP (peak deflection bin) and the alpha peaks are EA (peak energy step) and DA (peak deflection peak), then the min and max energies and deflection angles to use are given in the following table 4. In order to sample all position bins (except position 0 which holds error cases), the position distribution sums across 3 or 4 position steps. Thus, the position bin 0 holds position steps 1-3 (ignoring position step 0); position bin 1 holds position steps 4-7; position bin 2 holds position steps 8-11, etc.  Note in the following, we are using the energy stepping sequence number, and the energies step from high energies to low energies.  So the highest energy step would be EP=0, and the lowest energy step would be EP=128.  Similarly EP+4 corresponds to a lower energy than EP, and EP-5 corresponds to a higher energy than EP.

Table 4.  Bins to use to form the reduced proton and alpha distributions.

| Source Array | Reduced Array | Class bin | E min | E max | E steps | POS min | POS max | POS summed | Pos bins | DEF min | DEF max | Def bins |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SW-all | H_alpha | 0 | EP+4 | EP-15 | 20 | 1 | 31 | 3,4 | 8 | DP-3 | DP+4 | 8 |
| SW-H(Doubles) | H+ Peak | 0 | EP+4 | EP-5 | 10 | 1 | 31 | 3,4 | 8 | DP-3 | DP+4 | 8 |
| SW-alpha-(Doubles) | He++ Peak | 1 | EA+4 | EA-5 | 10 | 1 | 31 | 3,4 | 8 | DA-3 | DA+4 | 8 |
| SW_alpha (Triples) | He++ TCR | 0 | EA+4 | EA-5 | 10 | 1 | 31 | 3,4 | 8 | DA-3 | DA+4 | 8 |

These products are contained in apid 324-7 packets in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. They collected and sent down in telemetry once per minute, when we are in science. In proton mode, we receive two of the four (SW-H Doubles and SW_alpha Triples). The level 1 data includes raw values only. All these products are tied to the epoch1 product, which contains the time for each record. The data is compressed from 16 bits to 8 bits. The data in the CDF is uncompressed back to 16 bits.

The alpha/proton variables are:

‘h_alpha’	apid 324, SW-all array

4 dim array, 20 x 8 x 8

[EP+4:EP-15, PP-3:PP+4, DP-3:DP+4]

‘h+peak’	apid 325, SW-H Doubles

4 dim array, 10 x 8 x 8

[EP+4:EP-5, PP-3:PP+4, DP-3:DP+4]

‘he++peak’	apid 326, SW-alpha Doubles

4 dim array, 10 x 8 x 8

[EA+4:EA-5, PA-3:PA+4, DA-3:DA+4]

‘he++tcr’	apid 327, SW-alpha Triples

4 dim array, 10 x 8 x 8

[EA+4:EA-5, PA-3:PA+4, DA-3:DA+4]

The alpha/proton reduced distribution products are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch1’	gives time for record – start of cycle

‘cycle1’	gives cycle number for record (for synchronization)

‘s_chan1’	gives the step on which the s-channel switched for this record

(0 = didn’t switch)

‘proton_peak’	4 elements:[ESA, position, deflection, array

(0=sw_all, 1=doubles)]

‘alpha_peak’	4 elements:[ESA, position, deflection, array

(0=doubles, 1=triples)]

‘error1’	if 1, there was a possible error with this cycle’s data

3.3.2 Heavy Ion Data

The heavy ion data products are summed over several cycles as well as over some position and deflection bins. Table 5 gives the source arrays, and the summing that is done to create the final arrays. It is important to note that because the S-channel is switched based on real time count rate, the ESA step at which the S-channel switch occurs can be different between cycles which are summed together. In order to keep data clean, bins are only summed if the channel matches. That is, if the instrument was using the s-channel at esa step 82 on the first cycle, we only include step 82 of the following four cycles in the sum in they are also in the s-channel. In order to keep track of this, there are variables set up to indicate how many of the possible 5 (or 10, for Supra No E) cycles were summed at each esa step.

Table 5.  Bins to be summed to form the heavy ion distributions.

| Source Array | Classifier board array | Reduced Array | Sec. | Total Class bins | Summed Energy bins | Total Energy bins | Summed Pos. Bins | Total Pos. bins | Summed Def. Bins | Total Def. Bins | Summed Cycles | total bins |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SW Z>2 | SW Z>2 | SW_Z>2 - H | 0 and 1 | 2 | 1 | 128 | 2 | 8 | 1 | 8 | 5 | 16384 |
| SW Z>2 | SW Z>2 | SW_Z>2 - L | 0 and 1 | 13 | 1 | 128 | 2 | 8 | 8 | 1 | 5 | 13312 |
| Wide-angle, Triples | Supra Wide | WAP-SSD_TCR | 2 | 15 | 1 | 128 | 2 | 4 | 1 | 1 | 5 | 7680 |
| Wide-angle, Double | Supra No E | WAP-SSD_DCR | 2 | 7 | 1 | 128 | 2 | 4 | 1 | 1 | 5 | 3584 |
| Wide-angle, Double | Supra No E | WAP-noSSD-DCR | 3 | 7 | 1 | 128 | 1 | 8 | 1 | 1 | 10 | 7168 |
| SW_PHA_ Priority_ rates | SW PHA Rates | SW_Priority_ rates | 0 and 1 | 4 | 1 | 128 | 1 | 1 | 2 | 16 | 5 | 8192 |
| WAP_PHA_ Priority_ rates | WAP PHA Rate | WAP_Priority-SSD | 2 | 2 | 1 | 128 | 1 | 1 | 1 | 1 | 5 | 256 |
| WAP_PHA_ Priority_ rates | WAP PHA Rate | WAP_Priority-no-SSD | 3 | 2 | 1 | 128 | 1 | 1 | 1 | 1 | 5 | 256 |

The heavy ion products are contained in apid 319-323 packets in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. They collected and sent down in telemetry once per five minutes, when we are in science mode. In proton mode, we receive three products (SW_Priority_rates, WAP_Priority_SSD, WAP_Priority_no_SSD). The level 1 data includes raw values only. All these products are tied to the epoch5_heavy product, which contains the time for each record. The data is compressed from 16 bits to 8 bits. The data in the CDF is uncompressed back to 16 bits.

The heavy ion variables are:

‘sw_z>2_h’			apids 31A and 31B

4 dim array, 128 x 8 x 8 x 2

[ESA, summed position, summed deflection, class]

‘sw_z>2_l’			apids 31C and 31D

3 dim array, 128 8 13

[ESA, summed position, class]

‘wap_ssd_tcr’			apid 31E, Wide-angle, Triples, Supra Wide

3 dim array, 128 x 4 x 5

[ESA, summed position, class]

‘wap_ssd_dcr’			apid 31F, Wide-angle, Doubles, Supra No E

3 dim array, 128 x 4 x 7

[ESA, summed position, class]

‘wap_no_ssd_dcr’		apid 320, Wide-angle, Doubles, Supra No E

3 dim array, 128 x 8 x 7

[ESA, summed position, class]

‘sw_priority’			apid 321, SW PHS rates

3 dim array, 128 x 16 x 4

[ESA, summed deflection, class]

‘wap_priority_ssd’		apid 322, WAP PHA rates

2 dim array, 128 x 2

[ ESA, class]

‘wap_priority_no_ssd’	apid 323, WAP PHA rates

2 dim array 128 x 2

[ESA, class]

The heavy ion products are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch5_heavy’		gives time for record – start of first cycle

‘cycle5_heavy’		gives cycle number for record (for synchronization)

‘s_chan5_heavy’		gives the step on which the s-channel switched for

this record (0 = didn’t switch)

‘heavy_ion_num_summed5’	128 elem array for 5 min resolution products

num packets summed for each esa step

‘heavy_ion_num_summed10’	128 elem array for wap_no_ssd_dcr

num packets summed for each esa step

‘error5_heavy’			if 1, there was a possible error with this cycle’s data

  - Raw Event Data (PHA)

We collect a sample of raw events, which are used for high resolution science analysis, as well as instrument diagnostics.  We want to maximize the number of minor ions collected, and also collect a selection of ions from the different sections of the instrument.  Thus we have a prioritizing scheme for selecting the ions.  The ions are tagged with their priority classification.  This comes from the classification board.  Then, a selection of these events is put into the telemetry.

On the classifier board, the data have already been sorted by priority.  There are 6 priorities, 2 for the WAP section (WAP P0 and WAP P1) and 4 for the Solar Wind Section (SW P0, SW P1, SW P2, SW P3). The DPU is sent up to 512 PHA words for one energy step.  These will be already divided as up to 32 WAP P0, 32 WAP P1, 64 SW P0, 64 SW P1 and 160 SW P2 and 160 SW P3.  The DPU is responsible for down-selecting the data, but making sure we still emphasize the heavy ions in a full packet.

On average the DPU can send down 6 events per step.  We handle the PHA data in sets of 2 E/Q steps.  The DPU can send down 12 events every 2 steps.  This data is divided into 6 priorities:  2 WAP priorities and 4 SW priorities.  We specify, on average, how many of each priority we should collect every 2 steps, with the total adding up to 12.  For example, the default is:

1 WAP P0 (H+ and He++)

1 WAP P1 (Heavies)

1 SW P0 (H+)

1 SW P1 (He++)

4 SW P2 (heavies)

4 SW P3 (heavies)

The DPU has a buffers of size 768*48 bits = 36864 bits. It is filled from the front with “primary” events – ie those specified above.  The extra space is used to store extra “high priority” events on a first-come basis. In order to get events from all esa steps, the DPU alternates between starting a cycle on esa step 0 and starting on esa step 1.

PHA data are contained in apid 315 packets in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. PHA data are collected throughout a cycle and sent down in telemetry once per minute, when we are in science or proton mode. The PHA data are tied to the epoch1 product, which contains the time for each record.

The PHA variables are:

‘pha’		2 dim array, 768 x 9

1st dim is which event out of possible 768 then –

[ESA, Defl, Quadrant, WhichSSD, SSD energy, TOF, Pos in Q,

Instr Portion, Priority]

‘pha_start_esa’ for each cycle, where pha collection started

‘pha_missing’  error field, each bit represents a missing packet (out of 18 packets)

PHA data are tied to the following variables (i.e. the same record number will give you the appropriate data for any given value):

‘epoch1’		gives time for record – start of cycle

‘cycle1’		gives cycle number for record (for synchronization)

‘s_chan1’		gives the step on which the s-channel switched for this

record (0 = didn’t switch)

‘error1’		if 1, there was a possible error with this cycle’s data

  - Memory Data

All memory data products are simple readings of the instrument memory without processing by the DPU (beyond adding headers). Because the instrument sweeps deflection first in one direction and then in the opposite direction any sequence of deflection steps in the memory data is reversed on odd esa steps.

3.5.1 Classifier Data

When ‘Proton Mode’ is specified, by default, the DPU collects the following data from the classifier memory:

ESA step 0-63 BlockIds 0-7 every 5 cycles.

This data is sent down in compressed form in apid 328. In addition, we can change these parameters. We can specify:

- The first ESA step to collect

- The number of ESA steps to collect within the period

- For each ESA step, the first BlockId to collect

- For each ESA step, the number of successive blocks to collect

- The number of cycles to skip between collection periods

- Whether the data is sent compressed (apid 328) or uncompressed (apid 329)

Classifier data are contained in apids 328 and 329 packets in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_CL_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. Classifier data are tied to the epoch_classifier product, which contains the time for each record.

The classifier memory variables are:

‘epoch_classifier’		gives time for record

‘block_id_classifier’		gives block number for data

‘esa_step’			gives esa step; if 8th bit set, in S-channel

‘classifier_data’		128 element array of data

3.5.2 ‘Trickle-Down’ Memory Data

As space in telemetry allows, we receive a continual ‘trickle-down’ of the contents of memory. These data are contained in apid 318 in our level 0 telemetry. They are stored in CDFs with the prefix STx_L1_PLA_CL_, where ‘x’ is either ‘A’ or ‘B’, depending on the spacecraft. Classifier data are tied to the epoch_memory product, which contains the time for each record.

The trickle-down memory variables are:

‘epoch_memory’	gives time for record

‘device’		device code – see Logic Referecnce document for details

‘block_id_memory’	block id

‘memory_data’	256 element array of data

Appendix A: Apids with PLASTIC Data

- Analog Housekeeping (also includes IMPACT data)

- Digital Housekeeping

- PHA Data

- Normal Monitor Rates

- Full Resolution Monitor Rates

- ‘Trickle-Down’ Memory Dump

- Meta-data for Heavy Ions (number of packets summed)

31A 	SW Z>2 – High: Class 0

31B 	SW Z>2 – High: Class 1

31C 	SW Z>2 – Low: Classes 2-9

31D 	SW Z>2 – Low: Classes 10-14

31E 	WAP-SSD-TCR

31F 	WAP-SSD-DCR

- WAP-noSSD-DCR

- SW Priority Rates

- WAP Priority SSD

- WAP Priority no-SSD

- SW-All H-Alpha Reduced Distribution

- SW-H(Doubles) H+Peak Reduced Distribution & Proton Moments

- SW-Alpha(Doubles) He++ Peak Reduced Distribution

- SW-Alpha(Triples) He++ TCR Reduced Distribution

- Compressed Classifier Data (Proton Mode)

- Uncompressed Classifier Data (Proton Mode)

370  	Beacon Data (not in Level 0 or Level 1)

Appendix B: Compression Algorithms

Compression from 16 bits to 8 bits:

|  | Input Count Range, N, decimal |  | Input Count Range, N, Hex |  |  |  | Output Code |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 0 - 31 |  | 0 - 1Fh |  |  |  | N |  |  |
|  | 32 - 63 |  | 20h - 3Fh |  |  |  | 20h+(N-20h)/2 |  |  |
|  | 63 - 127 |  | 40h - 7Fh |  |  |  | 30h+(N-40h)/4 |  |  |
|  | 128 - 255 |  | 80h - FFh |  |  |  | 40h+(N-80h)/8 |  |  |
|  | 256 - 511 |  | 100h - 1FFh |  |  |  | 50h+(N-100h)/10h |  |  |
|  | 512 - 1,023 |  | 200h - 3FFh |  |  |  | 60h+(N-200h)/20h |  |  |
|  | 1,024 - 2,047 |  | 400h - 7FFh |  |  |  | 70h+(N-400h)/40h |  |  |
|  | 2,048 - 4,095 |  | 800h - FFFh |  |  |  | 80h+(N-800h)/80h |  |  |
|  | 4,096 - 8,191 |  | 1000h - 1FFFh |  |  |  | 90h+(N-1000h)/100h |  |  |
|  | 8,192 - 16,383 |  | 2000h - 3FFFh |  |  |  | A0h+(N-2000h)/200h |  |  |
|  | 16,384 - 32,767 |  | 4000h - 7FFFh |  |  |  | B0h+(N-4000h)/400h |  |  |
|  | 32,768 - 65,535 |  | 8000H - FFFFh |  |  |  | C0h+(N-8000h)/800h |  |  |
|  | 65,536 - 131,071 |  | 10000h - 1FFFFh |  |  |  | D0h+(N-10000h)/1000h |  |  |
|  | 131,072 - 262,143 |  | 20000h - 3FFFFh |  |  |  | E0h+(N-20000h)/2000h |  |  |
|  | 262,144 - 524,287 |  | 40000h - 7FFFFh |  |  |  | F0h+(N-40000h)/4000h |  |  |
|  | > 524,287 |  | > 7FFFFh |  |  |  | FFh |  |  |
| STEREO Moment Compression |  |  |  |  |  |  |  |  |  |
|  | Data has 1 sign bit, 6 exponent bits, and 9 mintissa bits: |  |  |  |  |  |  |  |  |
|  | MSB |  |  |  |  | LSB |  |  |  |
|  | S E E E E E E M M M M M M M M M |  |  |  |  |  |  |  |  |
|  | A compressed value of zero represents a zero data value. |  |  |  |  |  |  |  |  |
|  | Otherwise Value = (-1)^S * (512+M) * 2^(E-10) |  |  |  |  |  |  |  |  |

Appendix C: Analog Housekeeping Products

| Abbreviation | Name/Description | Sample Value | Units |
| --- | --- | --- | --- |
| 'lrnm_spare', | spare monitor channel (negative) |  |  |
| 'lvc_-12v', | low voltage converter -12 V | -12.27 | Volts |
| 'lvc_-5v', | low voltage converter -5 V | -4.88 | Volts |
| 'esa_vm_pos', | Electrostatic Analyzer Positive Voltage Monitor | 35.65 | Volts |
| 'dfl_1_vm', | Deflection 1 Voltage Monitor | 15.45 | Volts |
| 'dfl_1_tap', | Deflection 1 Tap | 17.39 | Volts |
| 'dfl_2_vm', | Deflection 2 Voltage Monitor | 17.21 | Volts |
| 'dfl_2_tap', | Deflection 2 Tap | 17.74 | Volts |
| 'lvc_+2.5v_b', | low voltage converter +2.5 V b | 2.43 | Volts |
| 'pac_cm_dc', | Post-Acceleration Voltage DC Current Monitor | 19.79 | mA |
| 'lvc_+12v', | low voltage converter +12 V | 12.18 | Volts |
| 'lrpm_spare', | spare monitor channel (positive) | 0 | Volts |
| 'lvc_+2.5v_a', | low voltage converter +2.5 V a | 2.43 | Volts |
| 'lvc_+5v', | low voltage converter +5 V | 4.97 | Volts |
| 'adc_avdd', | Analog to Digital Converter Voltage (Analog) | 5.07 | Volts |
| 'adc_dvdd', | Analog to Digital Converter Voltage (Digital) | 5.07 | Volts |
| 'pac_vm', | Post-Acceleration Voltage Monitor | -144404.26 | Volts |
| 'cal_vref', | Calibration Refernce Voltage | 5 | Volts |
| 'pac_cm_ac', | Post-Acceleration AC Current Monitor -- not in use |  |  |
| 'mcp_vm', | Micro-channel Plate Voltage Monitor | 2333.72 | Volts |
| 'mcp_cm_dc', | Micro-channel Plate DC Current Monitor | 36.71 | mA |
| 'mcp_cm_ac', | Micro-channel Plate AC Current Monitor -- not in use |  |  |
| 'ssd_cm_dc', | Solid State Detector DC Current Monitor | 143.8 | mA |
| 's_ch_vm', | S-Channel Voltage Monitor | -4.49 | Volts |
| 's_ch_vm_tap', | S-Channel Voltage Monitor Tap | 1.7 | Volts |
| 's_ch_cm_dc', | S-Channel DC Current Monitor | 3.64 | mA |
| 'esa_vm_neg', | Electrostatic Analyzer Negative Voltage Monitor | -14.94 | Volts |
| 'esa_cm_dc', | Electrostatic Analyzer DC Current Monitor | 3.96 | mA |
| 'dfl_1_cm_dc', | Deflection 1 DC Current Monitor | 3.18 | mA |
| 'dfl_2_cm_dc', | Deflection 2 DC Current Monitor | 3.34 | mA |
| 'lvc_+2.5v_b_imon | low voltage converter +2.5 V b Current Monitor | 300.63 | mA |
| 'lvc_+12v_imon', | low voltage converter +12 V Current Monitor | 377.51 | mA |
| 'lvc_-12v_imon', | low voltage converter -12 V Current Monitor | 64.63 | mA |
| 'lvc_+5v_imon', | low voltage converter +5 V Current Monitor | 219.98 | mA |
| 'lvc_-5v_imon', | low voltage converter -5 V Current Monitor | 88.67 | mA |
| 'lvc_+2.5v_a_imon | low voltage converter +2.5 V a Current Monitor | 287.59 | mA |
| 'ssd_vm', | Solid State Detector Voltage Monitor -- conversion factor is incorrect | 66.8 | V |
| 'adc_lu_flag', | DAC Boards Analog to Digital Converter latchup flag | 0 |  |
| 'plug_id', | high voltage limit plug (none-- fully enabled) | FullEnable |  |
| 'adc_lu_ctr', | DAC Boards Analog to Digital Converter latchup counter | 0 |  |
| 'dac_status', | DAC Boards Status | 0 |  |
| 'adc0_agnd', | Analog to Digital Converter 0 Analog Ground |  |  |
| 'adc1_agnd', | Analog to Digital Converter 1 Analog Ground |  |  |
| 'ra_e0', | Resistive Anode Charge Amplifier Output 0 |  |  |
| 'ra_e1', | Resistive Anode Charge Amplifier Output 1 |  |  |
| 'tac0_tsp', | Time Amplitude Converter 0 temperature | 11.75 | deg C |
| 'tac2_tsp', | Time Amplitude Converter 2 temperature | 15.11 | deg C |
| 'sb0_tsp', | Signal Board 0 temperature -- not in use | none |  |
| 'sb1_tsp', | Signal Board 1 temperature -- not in use | none |  |
| 'tof_hv0_tsp', | Time-of-Flight High Voltage 0 temperature | 8.4 | deg C |
| 'tof_hv1_tsp', | Time-of-Flight High Voltage 1 temperature | 10.08 | deg C |
| 's_c_0_tsp', | Space-Craft/Instrument Case temperature 0 | -3.35 | deg C |
| 's_c_1_tsp', | Space-Craft/Instrument Case temperature 1 | 5.04 | deg C |
| 'lvc0_tsp', | low voltage converter 0 temperature | 3.36 | deg C |
| 'lvc1_tsp', | low voltage converter 1 temperature | 6.72 | deg C |
| 'adc0_vref', | Analog to Digital Converter 0 reference voltage | 1.33 | Volts |
| 'adc1_vref', | Analog to Digital Converter 1 reference voltage | 1.33 | Volts |
| 'ssd_status', | Solid State Detector Status |  |  |
| 'ssd_v_pos_analog | Solid State Detector Positive Voltage (Analog) | 6.7 | Volts |
| 'ssd_v_neg_analog | Solid State Detector Negative Voltage (Analog) | -6.76 | Volts |
| 'ssd_hv_bias', | Solid State Detector High Voltage Bias | 98.91 | Volts |
| 'ssd_tc0', | Solid State Detector 0 Temperature | 6.26 | deg C |
| 'ssd_tc1', | Solid State Detector 1 Temperature | 6.26 | deg C |
| 'ssd_tc2', | Solid State Detector 2 Temperature | 5.49 | deg C |
| 'ssd_v_pos_dig' | Solid State Detector Positive Voltage (Digital) | 5.68 | Volts |

Appendix D: Classification Bins

| Note: In each category, row 0 overwrites row1 overwrites row2, etc |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Note: -1 value means bin all; -2 means bin 0 |  |  |  |  |  |  |
| Rate Name | Class | M/Q_low | M/Q_high | Mass_low | Mass_high | Species |
| Pha_pri_rates |  |  |  |  |  |  |
| SSD | 0 | 0.5 | 1.3 | -2 | 3 | H+ |
|  | 1 | 1.3 | 3 | -2 | 8 | He++ |
|  | 2 | 1.5 | 10 | 8 | 95 | Heavies |
|  | 3 | -1 | -1 | -1 | -1 | The rest |
| Pha_pri_rates |  |  |  |  |  |  |
| Non-SSD | 0 | 0.5 | 3 | -2 | -2 | H+, He++ |
|  | 3 | -1 | -1 | -1 | -1 | Heavies & The Rest |
| Supra_no_E |  |  |  |  |  |  |
| SSD | 0 | 0.5 | 0.8 | -2 | -2 | <H+ |
|  | 1 | 0.8 | 1.5 | -2 | -2 | H+ |
|  | 2 | 1.5 | 2.2 | -2 | -2 | He++ |
|  | 3 | 2.2 | 3 | -2 | -2 | O+6/O+7 |
|  | 4 | 3 | 10 | -2 | -2 | He+, Fe |
|  | 5 | 10 | 25 | -2 | -2 | O+ |
|  | 6 | 25 | 30 | -2 | -2 | Overflow |
|  | 7 | -1 | -1 | -1 | -1 | The Rest - Thrown away |
| Supra_no_E |  |  |  |  |  |  |
| Non-SSD | 0 | 0.5 | 0.8 | -2 | -2 | <H+ |
|  | 1 | 0.8 | 1.5 | -2 | -2 | H+ |
|  | 2 | 1.5 | 2.2 | -2 | -2 | He++ |
|  | 3 | 2.2 | 3 | -2 | -2 | O+6/O+7 |
|  | 4 | 3 | 10 | -2 | -2 | He+, Fe |
|  | 5 | 10 | 25 | -2 | -2 | O+ |
|  | 6 | 25 | 60 | -2 | -2 | Molecules |
|  | 7 | -1 | -1 | -1 | -1 | The Rest - Thrown away |
| Supra_wide (triples) |  |  |  |  |  |  |
| SSD | 0 | 0.8 | 1.3 | 0.5 | 2 | H+ |
|  | 1 | 1.7 | 2.5 | 1.5 | 8 | He++ |
|  | 2 | 1.7 | 2.2 | 8 | 20 | C+6,O+8 |
|  | 3 | 2.2 | 3 | 10 | 20 | O+6,O+7 |
|  | 4 | 3 | 4.5 | 10 | 20 | O+4,O+5 |
|  | 5 | 2.2 | 2.7 | 20 | 40 | Mg,Si |
|  | 6 | 2.7 | 3.7 | 20 | 40 | Mg,Si |
|  | 7 | 3.7 | 5 | 20 | 40 | Mg,Si |
|  | 8 | 3 | 4.2 | 40 | 95 | Fe+17,Fe+14 |
|  | 9 | 4.2 | 5.8 | 40 | 95 | Fe+13,Fe+10 |
|  | 10 | 5.8 | 9 | 40 | 95 | Fe+9,Fe+7 |
|  | 11 | 9 | 15 | 40 | 95 | Fe<7 |
|  | 12 | 3.5 | 5 | 2 | 8 | He+ |
|  | 13 | 1.3 | 1.7 | 2 | 5 | 3He |
|  | 14 | 0.5 | 30 | 0.5 | 95 | The rest |
|  | 15 | -1 | -1 | -1 | -1 | The Rest - Thrown away |
| Supra_wide |  |  |  |  |  |  |
| Non-SSD | 15 | -1 | -1 | -1 | -1 | All is not binned |
| SW Z>2 |  |  |  |  |  |  |
| SSD | 0 | 2.2 | 3 | -2 | -2 | O+6/O+7 Doubles |
|  | 1 | 3 | 5 | -2 | -2 | He+, O+4 Doubles |
|  | 2 | 1.7 | 2.2 | 8 | 20 | C+6,O+8 |
|  | 3 | 2.2 | 3 | 10 | 20 | O+6,O+7 |
|  | 4 | 3 | 4.5 | 10 | 20 | O+4,O+5 |
|  | 5 | 2.2 | 2.7 | 20 | 40 | Mg,Si |
|  | 6 | 2.7 | 3.7 | 20 | 40 | Mg,Si |
|  | 7 | 3.7 | 5 | 20 | 40 | Mg,Si |
|  | 8 | 3 | 4.2 | 40 | 95 | Fe+17,Fe+14 |
|  | 9 | 4.2 | 5.8 | 40 | 95 | Fe+13,Fe+10 |
|  | 10 | 5.8 | 9 | 40 | 95 | Fe+9,Fe+7 |
|  | 11 | 9 | 15 | 40 | 95 | Fe<7 |
|  | 12 | 3.5 | 5 | 2 | 8 | He+ |
|  | 13 | 5 | 14 | -2 | -2 | Fe Doubles |
|  | 14 | 14 | 30 | -2 | -2 | O+ Doubles |
|  | 15 | -1 | -1 | -1 | -1 | The Rest - Thrown away |
| SW Z>2 |  |  |  |  |  |  |
| Non-SSD | 15 | -1 | -1 | -1 | -1 | All is not binned |
| Sw all |  |  |  |  |  |  |
| SSD | 0 | -1 | -1 | -1 | -1 | (bins even invalid TOF) |
| Sw all |  |  |  |  |  |  |
| Non-SSD | 1 | -1 | -1 | -1 | -1 | (do not bin) |
| SW_H_alpha |  |  |  |  |  |  |
| SSD | 0 | 0.5 | 1.3 | -2 | 3 | H+ doubles & triples |
|  | 1 | 1.3 | 3 | -2 | -2 | He++ doubles |
|  | 2 | 1.3 | 3 | 1.5 | 8 | He++ triples |
|  | 3 | -1 | -1 | -1 | -1 | The Rest - Thrown away |
| SW_H_alpha |  |  |  |  |  |  |
| Non-SSD | 3 | -1 | -1 | -1 | -1 | All is not binned |