SPLAT

(Stereo-PLastic Analysis Tool)

Software Package for STEREO-PLASTIC

Lorna Ellis (Lorna.Ellis@unh.edu)

Kristin Simunac (ksimunac@cisunix.unh.edu)

Lynn Kistler (Lynn.Kistler@unh.edu)

Chris Mouikis (chris.mouikis@unh.edu)

Version 1.0.0 03/09/2007

Version 1.4 02/11/2021

1.	Introduction

SPLAT is a software package for the data-analysis of the STEREO PLASTIC instrument. It is written in IDL and uses the Berkeley TPLOT graphics package (by Davin Larson http://sprg.ssl.berkeley.edu/~davin/). This package provides the data extraction and processing routines which are initiated by the use of crib-sheets. Once the data are loaded in the IDL memory, tplot functions are used to plot the data. The crib-sheets provided, are generic idl scripts that are used to load particular data products. This version of the software represents the current state of the PLASTIC software at UNH.

2.	Installation

2.1.	System Requirements

SPLAT has been developed in IDL6 in a Linux-Unix environment. SPLAT should work on any Unix and Unix based (MAC OSX) system. Porting to other platforms is not currently planned but is possible. Filenames & paths follow the UNIX naming convention.

2.2.	Folder Structure

SPLAT is delivered as a zipped file (splat.zip). Unzip this file using an unzip utility or the following unix command:

unzip splat.zip

A  folder, named splat, is installed in the current directory. Under this folder the following folders/files can be found:

- A README file with a quick-start description on how to get started with splat.

- A Doc folder that contains the splat manual and a set of html files that list all the procedures/functions and the relevant documentation as provided at the file header.

- A cal_data folder that contains the calibration files

- The folder splat_v1.4. All the processing routines are in this folder. In principle, there is no need to edit any of the files in this folder. The processing routines are written in a fairly transparent way, with a lot of comments which should allow anybody with some IDL programming experience to read them. In case a bug is found or an improvement is needed we would like to be informed so that we can include the corrections/improvements in a new version. The splat_v1.4 folder comprises of three subfolders: splat_core that contains all the SPLAT data extraction and processing routines, splat_util that contains utility procedures/functions usable with SPLAT, and splat_tplot that contains all the tplot (graphics functionality) routines.

- The folder splat_user. This folder is each user's personal folder and contains: the splat.sh start-up script, a list of crib-sheets for the creation of different products and a number of subfolders for the better organization of SPLAT related tasks. The crib-sheets are IDL scripts that call the main processing routines for the creation of a particular product (i.e. energy spectrum, moments and etc.) Once these products are created, they are stored in memory and can be plotted using the TPLOT routines.

- In the Public subfolder of the splat_user folder, there are also routines that are used for the creation of some Level 2 and Level 3 data products. These routines are often hard-coded for use at UNH, but they show the algorithms and code used to create some of the Level 2 and Level 3 data products.

2.3.	Editing splat.sh start-up script

Each user has to edit the splat.sh start-up script in the splat_user folder. The splat.sh script is a c-shell script setting environment variables for all software and data paths. In the example script included, it is assumed that both splat_user and splat_v1.4 directories are installed in the user's home directory under the directory splat. The user has to ensure that all software paths defined in this file are valid. Data paths need to be valid if they are to be used for the creation of a particular product. Here is a description of some of the environment variables that are set by the splat.sh script (only highlighted variables are the ones that need to be edited if the default setup is kept):

- SOFT: path of where the directory splat is installed. Here the user’s home directory is assumed.

- SPLAT: path to the splat directory.

- SPLAT_USER: path to the splat_user directory.

- IDL_PATH: It requires that the IDL_PATH environment variable is set (which is usually the case - typing the command: echo $IDL_PATH in the unix command line should return the idl path) and it updates the IDL_PATH to include the splat software.

- STA_PLA_L1DATA: path to plastic CDFs directory for spacecraft A.

- STB_PLA_L1DATA: path to plastic CDFs directory for spacecraft B.

- PLACAL: the path to the calibration files.

- SPLAT_TEMP: path to a temporary directory. This directory is used for splat “internal” purposes and because of this, the splat_temp path has to be valid. By default it points to the splat_user/tmp directory.

- OUT_DIR: Points to the directory where plots can be stored. This is not used extensively. Most of the time plots are saved locally.

- ERROR_LOG: if set to ‘on’ it writes a separate error log file in the splat_user/error_log folder for every idl session. The default setting is ‘off’

- IDL_STARTUP: runs the splat_startup script when idl is started.

3. 	SPLAT Usage

Once the start-up script splat.sh file is properly edited the user has to:

- execute the splat.sh using the following unix command: source splat.sh (the usage of the tcsh or csh is assumed). In each unix window (unix command line session) this shell should be executed only once

- if the user is running SPLAT in the SolarSoft environment, then the user must also source the SolarSoft startup script

- Start IDL

- From the IDL-prompt execute the SPLAT crib-sheets. For example in order to execute the crib-sheet for the creation of energy spectra, type in the IDL-prompt: @pla_en_spec_crib. Available crib-sheets are described in the next section.

Once the crib-sheet is executed tplot commands can be used to display the data. Here is a very basic list of tplot commands. These commands should be executed in the idl command line after data products are loaded.

- tplot_names: it lists the tplot variables that are loaded in the IDL memory. The name  or the number of the tplot variable listed, should be used in order to refer to a particular variable.

- tplot: Assuming that four tplot variables are loaded, these can be plotted using:  tplot, [1,2,3,4]. Different order of the numbers can be used in order to change the order that the variables are plotted.

- ylim, zlim: to adjust the y range of a tplot variable, type: ylim, 2, 1e1, 4e4, 1 where 2 is the tplot variable number, 1e1 is the minmum value, 4e4 the maximum value and 1 for log axis. For the z axis the zlim command should be used instead.

- tlimit: to zoom in a plot using the mouse. tlimit, 10, 12 should be used to specify the time interval between 10 and 12 UT. tlimit, 0, 0 should be used in order to get the maximum time interval available.

- popen, pclose: to create a ps file. First plot on the screen the plot using any combination of the above commands, then type:  popen, 'filename.ps', then type: tplot and finally type: pclose

The _example_crib file, included in the splat_user directory,

3.1.	SPLAT Crib-Sheets - DESCRIPTION OF CRIBS AND INPUT PARAMETERS

Crib-sheets are sets of IDL-code calling SPLAT main-level plot routines. A set of example crib-sheets are contained in the splat_user folder. A crib-sheet is executed by typing @crib-sheet-name at the IDL prompt. This will load all requested data into tplot variables and will produce a plot on screen.

3.1.1. MOST COMMON INPUT PARAMETERS

time: Start date/time string in tplot format ('yyyy-mm-dd/hh:mm:ss')

Example: time = ‘2007-01-20/00:00:00’

timespan: Set the time span (duration). One of the following keywords has to be used: SECONDS, MINUTES, HOURS, DAYS (DEFAULT)

Example: timespan, time, 1, /DAYS

sat: Satellite id ('A' or 'B'). An array of strings indicating the s/c

Example: [‘A’, ‘B’]

moments: Moment to be calculated. The following abbreviations should be used 'D': Density, 'V': Velocity, 'T': Temperature 'P': Pressure, 'J': Flux, 'E': Energy Flux. The sat, specie and moments arrays must have exactly the same number of element

energy: Energy range (200 - 87000 eV) [energy_min, energy_max]

Example: energy = [1000, 10000]

theta: Deflection angle range (-25, 25 degrees) [theta_min, theta_max]

Example: theta = [-25, 25]

phi: Position angle range (-25, 25 degrees) [phi_min, phi_max]

Example: theta = [-25, 25]

units: Units options: 'Counts', 'c/s''

Example: units = ‘Counts’

3.1.2.	pla_en_spec_crib

To plot PLASTIC energy spectra (quantity vs. energy vs. time)

INPUT PARAMETERS: product, time, timespan, units

Possible products are:

#    SOURCE ARRAY             	          REDUCED ARRAY		CLASSIFIER

01: SW-all                 			: h_alpha

02: SW-H(D)                			: h+peak

03: SW-alpha(D)            		: he++peak

04: SW-alpha(T)            		: he++trc

05: SW Z>2                 			: sw_z>2_h              	class:0-1

06: SW Z>2                 			: sw_z>2_l              		class:0-12

07: WIDE ANGLE             		: wap_ssd_tcr           	class:0-14

08: WIDE ANGLE(D)          		: wap_ssd_dcr           	class:0-6

09: WIDE ANGLE(D)          		: wap_no_ssd_dcr        	class:0-6

10: SW PHA PRIORITY RATES  	: sw_priority           		class:0-3

11: WAP PHA PRIORITY RATES 	: wap_priority_ssd      	class:0-1

12: WAP PHA PRIORITY RATES 	: wap_priority_no_ssd   	class:0-1

PRODUCT INPUT EXAMPLES:

prod = 'A1'        		- S/C A, product 1

prod = ‘B07/0-14’	- S/C B, product 7,   classifiers 0 to 14

prod = 'B5/0-1'    	- S/C B, product 5,   classifiers 0 &  1

prod = 'A10/0,2-3' 	- S/C B, product 10, classifiers 0 &  2 & 3

KEYWORDS: diagn – it creates the corresponding s-channel plot (over-plotted line in following plots).

3.1.3.	pla_en_spec_line_crib

To plot PLASTIC quantity vs. time line plots for a particular energy range.

INPUT PARAMETERS: product, time, timespan, units, energy

The inputs are the same as the ones described for the energy spectra (3.1.2). An additional input is the energy range (3.1.1) over which the energy spectrum is integrated.

KEYWORDS: diagn – it is not used yet.

3.1.4.	pla_def_spec_crib

To plot PLASTIC deflection spectra (quantity vs. deflection angle vs. time)

INPUT PARAMETERS: product, time, timespan, units, energy, phi

The inputs are the same as the ones described for the energy spectra (3.1.2). An additional input is the energy range (3.1.1) over which the energy spectrum is integrated (and the phi range (3.1.1) which is not used yet).

KEYWORDS: diagn – It creates the corresponding average deflection plot (over-plotted line in following plots)

3.1.5.	pla_pos_spec_crib

To plot PLASTIC position spectra (quantity vs. deflection angle vs. time)

INPUT PARAMETERS: product, time, timespan, units, energy, theta

The inputs are the same as the ones described for the energy spectra (3.1.2). An additional input is the energy range (3.1.1) over which the energy spectrum is integrated (and the theta range (3.1.1) which is not used yet).

KEYWORDS: diagn – It creates the corresponding average position plot (over-plotted line in following plots)

3.1.6.	pla_obmom_crib

To plot PLASTIC on-board moments (quantity vs. time)

INPUT PARAMETERS: sat_moment, time, timespan

Possible moment products:

D: 		Density

VX: 		Velocity Vx component

VY: 		Velocity Vy component

VZ: 		Velocity Vz component

VXYZ: 		All three velocity components

VT: 		Velocity Vtotal component

TXX:	 	Temperature xx

TYY:	 	Temperature yy

TZZ:	 	Temperature zz

TXXYYZZ:	All three temperature components

PXX:	 	Pressure xx

PYY:	 	Pressure yy

PZZ:	 	Pressure zz

PXXYYZZ:	All three pressure components

sat_moment input examples:

sat_moment = [‘A_D’, ‘B-D’]

sat_moment = [‘A_D’, ‘A_VX’, ‘A_VY’, ‘A_TXXYYZZ’]

Note: For this version of the software one input per spacecraft will load all moments. Therefore the first example:  sat_moment = [‘A_D’, ‘B-D’] will load all moments for both spacecraft. After the crib-sheet is executed using the tplot_names command will show the list of all the moments.

KEYWORDS: INST_COORD: moments are calculated in instrument coordinates

In the following figure on-board moments from STA (black) and STB (blue) are plotted.

3.1.7.	pla_mon_crib

To plot PLASTIC monitor rates (quantity vs. time)

INPUT PARAMETERS: sat, sat_mon, e_step, time, timespan, units, no_eng,

Possible sat_mon products:

‘s_valid’

‘s_e_not_req’

‘s_e_req’

‘s_no_pos’

‘s_mult_pos’

‘s_no_e’

‘s_mult_e’

‘ra_sat_a’

‘ra_sat_b’

‘ra_sat_both’

‘ssd_sw’

‘ssd_st’

‘sf0’

‘sfr0’

‘stp0’

‘ra_trig’

‘pos1_0’

‘pos1_1’

‘w_no_pos’

‘w_mult_pos’

‘w_valid’

‘sf2’

‘sfr2’

‘stp2’

‘pos2_0’

‘pos2_1’

‘pos2_2’

‘pos2_3’

‘pos3_0’

‘pos3_1’

‘pos3_2’

‘pos3_3’

‘stop0’		   sfr0/sf0

‘start0’		   sfr0/stp0

‘stop2’		   sfr2/sf2

‘start2’		   sfr2/stp2

sat_mon input examples:

sat_moment = [‘s_valid’, ‘ssd_sw’, ‘sf0’, ‘sfr0’, ‘ra_trig’] (following plot)

Possible e_step values:

are from 0 to 31. Each e_step value corresponds to 4 energy bins (from the 0-127 energy bins). e_step = 32 will return the whole energy range.

3.1.8.	pla_mon_full_crib

To plot PLASTIC monitor rates for full energy range (quantity vs. time)

Same input parameters as above. The e_step takes values from 0 to 127.

3.1.9.	pla_hk_crib

To plot house keeping parameters (parametrer vs. time)

INPUT PARAMETERS: sat, sat_hk

The list of the available housekeeping parameters is included in the crib-sheet

3.1.10. pla_dig_hk_crib

To plot house keeping parameters (parametrer vs. time)

INPUT PARAMETERS: sat, sat_dig_hk

The list of the available housekeeping parameters is included in the crib-sheet

3.1.11. pla_sc_hk_crib

To plot house keeping parameters (parametrer vs. time)

INPUT PARAMETERS: sat, sat_sc_hk

The list of the available housekeeping parameters is included in the crib-sheet

4. Trouble Shooting

If program execution stops with an error message, examine all the output message lines. In addition, an error log file is kept under splat_user/error_log. Quite often the error is related to missing data files or products. In some cases you might resume execution by returning from a subroutine: Type RETURN or RETURN,0 for that purpose, otherwise RETALL will bring you back to the main level, from where you can restart with corrected parameters.